## Instructions for Use
AAFS Standards Resources and Training
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions, an on-demand training webinar and instructional videos.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASB 116-2020 1st Ed
ANSI/ASB 116-2020 First Edition
Standard for Training in Forensic DNA Quantification Methods
Discipline: | Biology/DNA
Checklist version: | V1.2
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Requirements | 4 | Section Title
General | 4.1 | Requirement | ANSI/ASB Standard 022, Standard for Forensic DNA Analysis Training Programs shall be used in conjunction with this document because ANSI/ASB Standard 022 provides the foundational training program requirements upon which additional specific requirements, such as this document, will be based.
Knowledge-based Training | 4.2 | Section Title
Knowledge-based Training | 4.2.1 | Requirement | The laboratory’s training program shall provide the trainee with an understanding of the fundamental principles of the theory behind various DNA quantification methods, the function of the reagents and other components used in each method, the information generated by each assay, the limitations of each method, and the laboratory’s own DNA quantification protocols.
Knowledge-based Training | 4.2.2 | Requirement | At a minimum, the knowledge-based portion of the training program shall require review of the following: a) the laboratory’s protocols for DNA quantification; b) the laboratory’s applicable validation studies; c) literature used to support validation and the test methods in the laboratory; d) applicable literature as assigned by the trainer.
Knowledge-based Training | 4.2.3 | Requirement | At a minimum, the knowledge-based portion of the training program shall cover the following topics. NOTE Knowledge of historical methods is intended to provide an educated perspective on current methods. a) Principles and limitations of non-PCR based DNA quantification methods: 1. spectrophotometric analysis; 2. fluorometric methods; 3. yield gels; 4. slot blots. b) Principles and limitations of quantitative PCR (qPCR) DNA quantification methods: 1. PCR assays based on fluorescence quenching using specific probes; 2. PCR assays based on a reduction of fluorescent signal during amplification; 3. qPCR assays based on non-specific double-stranded DNA intercalating dye; 4. end-point PCR assays; 5. standards and standard curves; 6. cycle threshold (CT) establishment and its role in the quantification process; 7. the use of melting temperature (Tm) to assess specificity of the reaction. c) Characteristics, performance, limitations, and information provided by PCR and non-PCR based methods of DNA quantification: 1. sensitivity (limit of detection and reliable concentration range); 2. specificity (non-human, higher primate, human, male/female); 3. single-copy vs. multi-copy qPCR targets; 4. qPCR target length and performance on degraded DNA; 5. qPCR multiplex capabilities; i. limits of detection; ii. internal positive control for the co-detection of PCR inhibitors; iii. autosomal and Y chromosome co-quantification; iv. detection and characterization of degradation based on targeting fragments of different lengths in a multiplex reaction.
Knowledge-based Training | 4.2.3 cont'd 1 | Requirement cont'd | d) Characteristics of results of different methods of DNA quantification: 1. amount of total DNA or target DNA; 2. sample purity; 3. detection of male contributor(s); 4. presence of PCR inhibitors; 5. DNA degradation levels; 6. suitability of DNA for typing methods; 7. impact of the source of the DNA standard (e.g., cell line, single source genomic DNA, pooled genomic DNA) on the quantification estimate. e) Interpretation of results: 1. evaluation of the standard curve (slope, R2, Y-intercept); 2. DNA concentration of the sample; 3. presence of PCR inhibitors (if applicable); 4. ratio between male and female contributors (if applicable); 5. level of sample degradation (if applicable); 6. evaluation of the melting temperature (Tm) (if applicable); 7. determining whether the sample has detectable amounts of DNA; 8. determining whether the DNA should be further purified, further concentrated, or the sample should be re-extracted; 9. determining whether it is appropriate to proceed with the amplification step; 10. determining the amount of DNA to be added to the amplification reaction; 11. method limitations (e.g., non-targeted detection methods, specificity, sensitivity). f) Instrumentation and reagents: 1. DNA quantification instruments and parameters; 2. software parameters associated with instruments; 3. maintenance and calibration; 4. quality control, storage and handling of quantification kit reagents.
Knowledge-based Training | 4.2.3 cont'd 2 | Requirement cont'd | g) Troubleshooting: 1. spectral calibration failure; 2. standard quantification curve failure 3. non-specific detection (e.g., background fluorescence, cellular debris, pigments); 4. general equipment failure.
Practical Training | 4.3 | Section Title
Practical Training | 4.3.1 | Requirement | The laboratory’s training program shall provide the trainee with sufficient practical instruction for the trainee to obtain the skills for successfully performing DNA quantification protocols used by the laboratory.
Practical Training | 4.3.2 | Requirement | At a minimum, the practical portion of the training program shall include the observation of the process at least once or until clearly understood, and exercises representative of the range, type, and complexity of routine casework or database samples processed by the laboratory. These include: a) DNA quantification methods to be utilized by the trainee; b) the use of appropriate controls; c) proper documentation of the process.
Practical Training | 4.3.3 | Requirement | At a minimum, the practical portion of the training program shall include exercises representative of the range, type, and complexity of casework or database samples processed by the laboratory. These include: a) DNA quantification methods to be utilized by the trainee; b) evaluation of controls and expected results; c) proper documentation of the process; d) the number and quality of samples processed by the trainee shall be appropriate to demonstrate the ability to follow the laboratory’s DNA quantification protocol(s) and to produce reliable and accurate results.
Competency Testing | 4.4 | Section Title
General | 4.4.1 | Requirement | The laboratory’s training program shall include knowledge-based and practical competency testing in the application of DNA quantification. The format of the test(s) shall meet section 4.3 of ANSI/ASB Standard 022, Standard for Forensic DNA Analysis Training Programs.
Knowledge-based Competency | 4.4.2 | Requirement | The trainee shall successfully complete a knowledge-based test covering the critical information obtained during the training of DNA quantification methods. The test(s) shall cover, at a minimum: a) theoretical and scientific basis of DNA quantification; b) the function of the reagents and other components used in each method; c) the proper application of each method; d) the quality control steps pertaining to DNA quantification; e) the laboratory’s analytical procedures pertaining to DNA quantification methods.
Practical Competency | 4.4.3 | Requirement | The trainee shall successfully complete a practical test covering each of the DNA quantification protocol(s) for which he or she will be independently authorized to perform. At a minimum the trainee shall be able to satisfactorily perform the following: a) properly and accurately execute the analytical procedures related to DNA quantification; b) apply the laboratory’s analytical procedures to a variety of evidentiary casework or database type samples; c) operate relevant equipment and instrumentation used in the laboratory; d) correctly document work performed in accordance with laboratory procedures.
Conformance | 5 | Requirement | In order to demonstrate conformance with this standard, the laboratory shall meet Section 5 of the ANSI/ASB Standard, 022 Standard for Forensic DNA Analysis Training Programs.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed |  | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics