## Instructions for Use
AAFS Standards Resources and Training
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions, an on-demand training webinar and instructional videos.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASTM E1412-19
ANSI/ASTM E1412-19
Standard Practice for Separation of Ignitable Liquid Residues from Fire Debris Samples by Passive Headspace Concentration with Activated Charcoal
Discipline: | Fire Debris & Explosives
Checklist version: | V1.1
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Apparatus | 5 | Section Title
Apparatus | 5.1 | Requirement | Heating System An oven, or a heating mantle to fit the evidence container (or a hot plate).
Apparatus | 5.1.1 | Recommendation | An oven is recommended to achieve a constant temperature throughout the system.
Apparatus | 5.2 | Requirement | Temperature Measuring Device A thermometer or thermocouple capable of measuring temperatures in the range of 40 to 100°C.
Apparatus | 5.3 | Requirement | Adsorption Package
Commerical Adsorption Packages | 5.3.1 | Section Title
Commerical Adsorption Packages | 5.3.1 | Informational Text | Commercial charcoal adsorption packages are available from several companies. These packages, in the form of polymer strips or small charcoal canisters or “C-bags,” are used to adsorb organic vapors.
Commerical Adsorption Packages | 5.3.1.1 | Recommendation | The minimum recommended polymer strip size is 10 mm by 10 mm, or 100 mm2.
Non-Commercial Adsorption Packages | 5.3.2 | Section Title
Non-Commercial Adsorption Packages | 5.3.2.1 | Requirement | C-Bags Prepare C-bags by encapsulating 0.2 g of activated charcoal within a folded sheet of high strength, light weight, high porosity tissue paper, such as that commonly used for making tea bags.
Storage of Adsorption Packages | 5.3.3 | Requirement | To prevent contamination, store all adsorption packages away from any sources of organic vapors prior to and after sampling.
Reagents and Materials | 6 | Section Title
Reagents and Materials | 6.1 | Requirement | Purity of Reagents Reagent grade or better chemicals shall be used in all tests. Unless otherwise indicated, it is intended that all reagents conform to the specifications of the Committee on Analytical Reagents of the American Chemical Society where such specifications are available. Other grades can be used, provided it is first ascertained that the reagent is of sufficiently high purity to permit its use without lessening the accuracy of the determination.
Reagents and Materials | 6.2 | Requirement | Adsorption Package
Reagents and Materials | 6.2.1 | Informational Text | C-Bags
Reagents and Materials | 6.2.1.1 | Informational Text | 4 by 5 in. (approximate) high strength, light weight, high porosity filter paper.
Reagents and Materials | 6.2.1.2 | Informational Text | Activated charcoal.
Reagents and Materials | 6.2.2 | Informational Text | Commercial charcoal adsorption package.
Reagents and Materials | 6.2.3 | Informational Text | When necessary, charcoal can be activated and cleaned by heating in a 400°C oven for 4 h, then cooled in a desiccator.
Reagents and Materials | 6.3 | Requirement | Elution Solvent Suitable elution solvents are carbon disulfide, n-pentane, or diethyl ether. Use of a heavier solvent, such as toluene or tetrachloroethylene, is sometimes necessary when the compounds of interest have low molecular weights.
Reagents and Materials | 6.3.1 | Requirement | Read and follow the safety precautions described in the safety data sheet (SDS) of the extraction solvent that is used.
Sample Preparation/Adsorption Procedure | 7 | Section Title
Sample Preparation/Adsorption Procedure | 7.1 | Requirement | Observe the appropriate procedures for handling and documentation of all submitted samples as described in Practice E1492.
Sample Preparation/Adsorption Procedure | 7.1.1 | Requirement | Open and examine the fire debris sample in order to determine that it is consistent with its description.
Sample Preparation/Adsorption Procedure | 7.1.1.1 | Requirement | Resolve any discrepancies between the submitting agency’s description of the evidence and the analyst’s observation prior to the completion of the report.
Sample Preparation/Adsorption Procedure | 7.2 | Requirement | Place an adsorbent package in the evidence container according to laboratory protocols and reseal the container. Suspend the adsorbent package above the sample whenever possible.
Sample Preparation/Adsorption Procedure | 7.3 | Requirement | Heat the container to a temperature of 50 to 80°C, for 2 to 24 h. The longer times or higher temperatures, or both, are required for the adsorption of higher boiling point compounds or for the adsorption of very small quantities of volatile hydrocarbons. The adsorption temperature and duration can vary based on the sample.
Sample Preparation/Adsorption Procedure | 7.3.1 | Informational Text | When other evidentiary considerations arise (such as document or latent print examinations) it may be appropriate to conduct the adsorption at ambient temperature (approximately 20°C) for extended periods (24 h or longer) to minimize damage.
Sample Preparation/Adsorption Procedure | 7.3.2 | Informational Text | Room temperature adsorption could also be appropriate to detect low molecular weight compounds.
Sample Preparation/Adsorption Procedure | 7.3.3 | Informational Text | The optimum adsorption time for maximum sensitivity will depend on the adsorption package and temperature selected. Temperatures lower than 60°C could be insufficient to volatilize compounds heavier than C16.
Sample Preparation/Adsorption Procedure | 7.3.4 | Informational Text | Temperatures in excess of 80°C could result in disproportionate recovery of higher molecular weight compounds with the displacement of lower molecular weight compounds.
Sample Preparation/Adsorption Procedure | 7.3.5 | Informational Text | The optimum adsorption time for representative sampling or maximum sensitivity, or both, will depend on the adsorption package, the adsorption temperature, and the ignitable liquid composition and concentration.
Sample Preparation/Adsorption Procedure | 7.3.5.1 | Informational Text | Adsorption times for routine screening of samples are typically in the range of 8 to 24 h.
Sample Preparation/Adsorption Procedure | 7.3.5.2 | Informational Text | Data that appears overloaded or excessively displaced can be corrected by resampling at ambient temperatures, or with shortened adsorption times (1 to 4 h), or by performing a solvent extract on a portion of the debris in accordance with Practice E1386.
Sample Preparation/Adsorption Procedure | 7.4 | Informational Text | A known amount (typically, 0.1 to 0.5 μL) of an internal standard can be added to the sample in order to evaluate the efficiency of the procedure.
Sample Preparation/Adsorption Procedure | 7.4.1 | Informational Text | Internal standards are typically prepared using a single compound that is easily identified (such as 3-phenyltoluene or diphenylmethane) dissolved in the eluting solvent.
Sample Preparation/Adsorption Procedure | 7.4.2 | Requirement | If an internal standard is added, the compound and the quantity added shall be documented along with the manufacturer, grade, and lot number used.
Sample Preparation/Adsorption Procedure | 7.5 | Requirement | Document the adsorption parameters including the type and amount of adsorbent used, adsorption temperature and adsorption time.
Elution Procedure | 8 | Section Title
Elution Procedure | 8.1 | Requirement | Remove the adsorption package from the evidence container. If it is not to be eluted immediately, store the adsorption package in a clean, vapor-tight container.
Elution Procedure | 8.2 | Requirement | Follow the evidence documentation and handling procedures described in Guide E1459 and Practice E1492.
Elution Procedure | 8.3 | Requirement | Place the adsorption substrate in a properly labeled container and desorb with a minimal amount of eluting solvent required for instrumental analysis (typically 50 to 1000 μL).
Elution Procedure | 8.4 | Requirement | Document the type and approximate volume of solvent used to desorb the analyte(s) from the adsorbent.
Sealing | 9 | Section Title
Sealing | 9.1 | Informational Text | A septum seal or screw cap glass vial can be used for collecting and sealing the extract for analysis.
Extract And Adsorbent Storage | 10 | Section Title
Extract And Adsorbent Storage | 10.1 | Informational Text | Refer to Practice E2451 for short term and long term storage of ignitable liquid extracts.
Quality Assurance | 11 | Section Title
Quality Assurance | 11.1 | Requirement | Analyze adsorption package blanks, solvent blanks, system blanks, and adsorption package efficacy with the frequency required by laboratory procedures and protocols. Minimum requirements for each are indicated below.
Quality Assurance | 11.1.1 | Informational Text | Adsorption package blanks, solvent blanks, and system blanks are analyzed to ensure there are no contaminants within the extraction materials and testing environment.
Quality Assurance | 11.1.2 | Informational Text | To effectively isolate the source of contamination, if present, within a testing environment, a solvent blank, adsorption package blank and system blank can be analyzed contemporaneously.
Quality Assurance | 11.1.3 | Informational Text | Sample preparation and analysis materials, such as wire, paper clips, string, tape, septum caps, and vials are potential sources of contamination within the testing environment and could require additional testing to determine their suitability for use. Including such items within a system blank can indicate if individual testing of such materials is warranted.
Quality Assurance | 11.1.4 | Requirement | If an internal standard is routinely used, include the internal standard in all quality assurance samples.
Quality Assurance | 11.2 | Requirement | For each lot of adsorption package, evaluate the charcoal media for suitability by desorbing a representative unit using the same elution solvent as will be used for questioned samples.
Quality Assurance | 11.2.1 | Informational Text | After the initial check, subsequent adsorption package blanks can be prepared by eluting the adsorbent with solvent in the same way that samples are prepared, and analyzed according to Test Method E1618 to ensure adsorption packages have not been contaminated from storage or processing.
Quality Assurance | 11.3 | Requirement | For each lot of adsorption package, initially check its efficacy by adding a known volume of ignitable liquid(s) to a container. Then follow the procedures described in Sections 7 and 8 (using typical time, temperature, and elution solvent as will be used for questioned samples) and analyze in accordance with Test Method E1618.
Quality Assurance | 11.3.1 | Informational Text | After the initial quality assurance verification, adsorption performance samples can be similarly prepared concurrently with questioned sample preparations.
Quality Assurance | 11.4 | Requirement | For each lot of elution solvent, initially verify the solvent purity by evaporating to at least twice the extent used in the analysis and analyze the evaporated solvent in accordance with Test Method E1618.
Quality Assurance | 11.4.1 | Informational Text | After the initial purity check, subsequent solvent blanks can be prepared concurrently with questioned sample preparation.
Quality Assurance | 11.5 | Requirement | Prepare a system blank by placing an adsorption package into a clean dry evidence container and processing by the adsorbent procedure as described in Section 7. Elute the adsorption package according to Section 8, and analyze the extract according to Test Method E1618 to ensure the testing environment is free of contaminants.
Quality Assurance | 11.5.1 | Requirement | Prepare and analyze system blanks concurrently with questioned samples.
Quality Assurance | 11.5.2 | Requirement | If the results of the system blank indicate that the system blank has contamination, review the sample results to determine if and how the questioned sample results were affected. Laboratory procedures shall be in place for how to proceed when contamination is indicated by a system blank.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed |  | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics